Drainage – Sewer lateral and on-site disposal systems

| To be completed by the drainlayer who completed the work (all sections of this form must be completed) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Building consent number |  |  |  | Registration number |  |
| Name |  |  |  |  |  |
| Company |  |  |  |  |  |
| Site address |  |  |  |  |  |
| Legal description |  |  |  |  |  |
| I have sighted the above building consent and read the attached conditions of consent and confirm that the work has been constructed to comply with the consented plans to the extent required by the above building consent, and comply with all relevant clauses of the New Zealand Building Code. I hereby certify that I have personally reviewed the work and that I have supplied the below photos in support of the remote inspection. |  |  |  |  |  |
| Yes | NA |  |  |  |  |
| ☐ |  | As built drainage plan provided detailing all sewer lines, pipe sizes and falls, locations of gully traps, inspection points, etc. Note the location and direction of each photo on the as built, with reference numbers along with the full name and license number of drainlayer. |  |  |  |
| ☐ |  | I confirm that the drains do not impact on the zone of influence of the building and are at least their own depth away from the building. If not, I have booked an in-person inspection. |  |  |  |
| ☐ |  | I confirm that the drain system has undergone a standing water test and that it held water with no sign of leakage, and that when released the drain fully discharged. |  |  |  |
| ☐ | ☐ | I confirm that _______ (number) wastes exit the building and that they are all discharging to the drainage system. |  |  |  |
| ☐ | ☐ | Drains are ________ mm diameter with a fall of 1: ________ using SN_______ (photo of each trench and one photo showing the pipe details provided). |  |  |  |
| ☐ | ☐ | Bedding is installed under and around the pipe (one photo provided). |  |  |  |
| ☐ | ☐ | All Junctions, connections and inspection points installed and sealed (one photo provided). |  |  |  |
| ☐ | ☐ | Photo of all gullies, showing all wastepipes terminating into the gully, sealing of the pipework provided. |  |  |  |
| ☐ | ☐ | Drains discharge to lateral/septic tank (circle one) (one photo provided). |  |  |  |
| ☐ | ☐ | Photo of excavated effluent field which is ___________mm long x ________ mm wide and ________mm deep provided. |  |  |  |
| ☐ | ☐ | I confirm that the cover to the drain is 300mm minimum, if not the drain will be protected by ___________________ (photo provided of protection (if completed at time of drainage), OR if yet to be completed, the as built drain plan marked with the pipework length needing protection to allow assessment at final inspection). |  |  |  |
| ☐ | ☐ | Photo of current licence, all relevant PS3s, commissioning documents, PS4s or 2a sand docket provided as relevant. |  |  |  |
| The work above was completed on |  |  |  | Date |  |
| I understand that Council will rely on this statement for the purposes of establishing compliance with the above building consent. I confirm that the information within and submitted with this statement is true and accurate. I acknowledge and accept the risk of any remedial work that may be required should work continue before being informed this inspection has passed. |  |  |  |  |  |
| Signature/ name |  |  |  | Date |  |
| Company’s contact details |  |  |  |  |  |
| Company name |  |  |  |  |  |
| Address |  |  |  |  |  |
| Email |  |  |  |  |  |
| Mobile |  |  |  |  |  |