Drainage – Stormwater

| To be completed by the drainlayer who completed the work (all sections of this form must be completed) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Building consent number |  |  |  | Registration number |  |  |
| Name |  |  |  |  |  |  |
| Company |  |  |  |  |  |  |
| Site address |  |  |  |  |  |  |
| Legal description |  |  |  |  |  |  |
| I have sighted the above building consent and read the attached conditions of consent and confirm that the work has been constructed to comply with the consented plans to the extent required by the above building consent, and comply with all relevant clauses of the New Zealand Building Code. I hereby certify that I have personally reviewed the work and that I have supplied the below photos in support of the remote inspection. |  |  |  |  |  |  |
| Yes | NA |  |  |  |  |  |
| ☐ |  | As built drainage plan provided detailing all stormwater lines, pipe sizes and falls, inspection points, etc. Note the location and direction of each photo on the as built, with reference numbers along with the full name and license number of drainlayer |  |  |  |  |
| ☐ |  | I confirm that the drains do not impact on the zone of influence of the building and are at least their own depth away from the building. If not, I have booked an in-person inspection. |  |  |  |  |
| ☐ | ☐ | I confirm that _______ (number of) downpipes have been installed and that they are all discharging to the drain system. |  |  |  |  |
| ☐ | ☐ | Drains are ________mm diameter with a fall of 1:________ using SN_______(photo of each trench and photo showing the pipe details provided). |  |  |  |  |
| ☐ | ☐ | Bedding is installed under and around the pipe (one photo provided). |  |  |  |  |
| ☐ | ☐ | Photo of the stormwater sump OR photo of the provision for one provided. |  |  |  |  |
| ☐ | ☐ | Photo provided of any driveway discharge points or the drains provision for them if they are to be installed later. |  |  |  |  |
| ☐ | ☐ | Drains discharge to lateral/soak pit (circle one) (photo provided). |  |  |  |  |
| ☐ | ☐ | Photo of excavated soak pits which is _____mm long x ________mm wide and ________mm deep (one photo of each provided). |  |  |  |  |
| ☐ | ☐ | Photo of current licence, all relevant PS3’s, commissioning documents, percolation testing, and PS4’s provided as relevant. |  |  |  |  |
| The work above was completed on |  |  |  |  | Date |  |
| I understand that Council will rely on this statement for the purposes of establishing compliance with the above building consent. I confirm that the information within and submitted with this statement is true and accurate. I acknowledge and accept the risk of any remedial work that may be required should work continue before being informed this inspection has passed. |  |  |  |  |  |  |
| Signature/ name |  |  |  |  | Date |  |
| Company’s contact details |  |  |  |  |  |  |
| Company name |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |
| Email |  |  |  |  |  |  |
| Mobile |  |  |  |  |  |  |