Pre-pour and floor slab (NZS3604 single or two pour)

| To be completed by the builder who completed the work (all sections of this form must be completed) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Building consent number |  |  |  | LBP number |  |  |
| Name |  |  |  |  |  |  |
| Company |  |  |  |  |  |  |
| Site address |  |  |  |  |  |  |
| Legal description |  |  |  |  |  |  |
| I have sighted the above building consent and read the attached conditions of consent and confirm that the work has been constructed to comply with the consented plans to the extent required by the above building consent, and comply with all relevant clauses of the New Zealand Building Code. I hereby certify that I have personally reviewed the work and that I have supplied the below photos in support of the remote inspection. |  |  |  |  |  |  |
| Yes | NA |  |  |  |  |  |
| ☐ |  | Floor plan detailing the location and direction of each photo, with reference numbers. |  |  |  |  |
| ☐ | ☐ | I confirm that the FFL is ______RL in accordance with the FAC or ECAN certificate for the site (not required if BLC supplied that covers height). |  |  |  |  |
| ☐ | ☐ | I confirm that the boundary pegs have been identified and that the building is correctly sited and oriented. Closest two dimensions to the foundation are ________mm and ___________mm (photo of tape measure to relevant boundary peg(s) provided (note not required if BLC supplied)). |  |  |  |  |
| ☐ | ☐ | Foundation trenches are _______mm deep and _______mm wide and are clean and free of water, loss material and debris (two photos provided). |  |  |  |  |
| ☐ | ☐ | Reinforcing to the footings is ____ (number) of HD / D (circle one) ___ bars with minimum lap of _______mm and HD / D (circle one) ____ starters installed to a maximum of ______mm centres (two photos provided). |  |  |  |  |
| ☐ | ☐ | Foundation reinforcing is installed with a minimum clearance of ____mm to ground, ______mm to formwork and _____mm to the top of concrete. |  |  |  |  |
| ☐ | ☐ | DPM installed to floor slab on blinding sand with lap of ______. DPM taped with penetrations sealed direct to pipework (photo of DPM prior to installation of insulation provided). |  |  |  |  |
| ☐ | ☐ | I confirm I have checked the slab depth and that the slab will be _____mm thick minimum (one photo of the overall floor slab provided). |  |  |  |  |
| ☐ | ☐ | I confirm SE____ mesh is installed, with lap of ____mm and is sat on chairs (one photo of the mesh label and separate photo of the floor area provided). |  |  |  |  |
| ☐ | ☐ | I confirm re-entrant corner bars are installed as _____ (number) HD / D (circle one) ____ of _______mm long, clearance confirmed to top of slab as _____mm (photo of example provided). |  |  |  |  |
| ☐ | ☐ | I confirm free joint constructed as per detail _______ in the consented plans (photo of each free joint provided). |  |  |  |  |
| ☐ | ☐ | I confirm ___ (number) of thickenings installed with ____ (number) of D____ bars (photo of each thickening provided). |  |  |  |  |
| ☐ | ☐ | Post footings excavated to ______mm x ______mm x _______mm deep with / without (circle one) cast in anchor (photo of each provided). If multiple, provide details of number and size ___________________________. |  |  |  |  |
| ☐ | ☐ | Nib wall construction, ________mm long, ________mm wide with reinforcing of ___ (number) HD / D (circle one)____ and D____ starters installed to a maximum of ______mm centres. |  |  |  |  |
| ☐ | ☐ | Insulation installed to the floor slab is _______________________ |  |  |  |  |
| ☐ | ☐ | I confirm ___(number) shower recesses installed, installation did not penetrate the DPM (photo of each provided). |  |  |  |  |
| ☐ | ☐ | Perimeter and garage door rebates installed (photo one of each provided). |  |  |  |  |
| ☐ | ☐ | Photo of current licence, construction monitoring documents from any engineer for specific SED elements, and LBP memorandum of works provided. |  |  |  |  |
| The work above was completed on |  |  |  |  | Date |  |
| I understand that Council will rely on this statement for the purposes of establishing compliance with the above building consent. I confirm that the information within and submitted with this statement is true and accurate. I acknowledge and accept the risk of any remedial work that may be required should work continue before being informed this inspection has passed. |  |  |  |  |  |  |
| Signature/ name |  |  |  |  | Date |  |
| Company’s contact details |  |  |  |  |  |  |
| Company name |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |
| Email |  |  |  |  |  |  |
| Mobile |  |  |  |  |  |  |