Waffle slab

| To be completed by the builder who completed the work (all sections of this form must be completed) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Building consent number |  |  |  | LBP number |  |  |  |
| Name |  |  |  |  |  |  |  |
| Company |  |  |  |  |  |  |  |
| Site address |  |  |  |  |  |  |  |
| Legal description |  |  |  |  |  |  |  |
| I have sighted the above building consent and read the attached conditions of consent and confirm that the work has been constructed to comply with the consented plans to the extent required by the above building consent, and comply with all relevant clauses of the New Zealand Building Code. I hereby certify that I have personally reviewed the work and that I have supplied the below photos in support of the remote inspection. |  |  |  |  |  |  |  |
| Yes | NA |  |  |  |  |  |  |
| ☐ |  | Floor plan detailing the location and direction of each photo, with reference numbers. |  |  |  |  |  |
| ☐ | ☐ | I confirm that the FFL is ______ RL in accordance with the FAC or ECAN certificate for the site (not required if BLC supplied that covers height). |  |  |  |  |  |
| ☐ | ☐ | I confirm that the boundary pegs have been identified and that the building is correctly sited and oriented. Closest two dimensions to the foundation are ________ mm and ___________mm (photo of tape measure to relevant boundary peg(s) provided (note: not required where if BLC supplied)). |  |  |  |  |  |
| ☐ | ☐ | DPM installed to floor slab on blinding sand with lap of ______. |  |  |  |  |  |
| ☐ | ☐ | Raft extends beyond the waffle slab/building footprint by ______mm minimum (one photo provided). |  |  |  |  |  |
| ☐ | ☐ | Perimeter reinforcing to the waffle slab is ____ (number) of HD / D (circle one) ____bars with minimum lap of _______mm (two photos provided). |  |  |  |  |  |
| ☐ | ☐ | Ribs installed as _____mm wide with a HD / D (circle one) ____ installed (one photo example provided). |  |  |  |  |  |
| ☐ | ☐ | I confirm I have checked the slab depth and that the slab will be _____mm thick minimum (one photo of the overall floor slab provided). |  |  |  |  |  |
| ☐ | ☐ | I confirm SE ____ mesh installed, with lap of ____mm and is sat on chairs (one photo of the label and a separate photo of the floor area provided). |  |  |  |  |  |
| ☐ | ☐ | I confirm re-entrant corner bars are installed as _____ (number) D____ of _______mm long, clearance confirmed to top of slab as _____mm (photo of example provided). |  |  |  |  |  |
| ☐ | ☐ | I confirm pipe penetrations installed with crack bars of _____ (number) D____ of _______mm long, clearance confirmed to top of slab as _____mm (photo of example provided). |  |  |  |  |  |
| ☐ | ☐ | I confirm free joint constructed as per detail _______ in the consented plans (photo of each free joint provided). |  |  |  |  |  |
| ☐ | ☐ | I confirm ___ (number) of thickenings installed with ____ (number) of D____ bars (photo of each thickening provided). |  |  |  |  |  |
| ☐ | ☐ | Post footings excavated to ______mm x ______mm x _______mm deep with / without (circle one) cast in anchor (photo of each provided). If multiple, provide details of number and size ___________________________. |  |  |  |  |  |
| ☐ | ☐ | Nib wall construction, ________mm long, ________mm wide with reinforcing of ___ (number) D____ and D____ starters installed to a maximum of ______mm centres. |  |  |  |  |  |
| ☐ | ☐ | _______mm thick pods installed. |  |  |  |  |  |
| ☐ | ☐ | I confirm ___ (number) shower recesses installed, installation did not penetrate the DPM (photo of each provided). |  |  |  |  |  |
| ☐ | ☐ | Perimeter and garage door rebates installed (photo of each provided). |  |  |  |  |  |
| ☐ | ☐ | I confirm that the pipework has not been changed or adjusted by the installation of steel etc, and that the pipework is protected where it would be exposed to concrete. |  |  |  |  |  |
| ☐ | ☐ | Photo of current licence, construction monitoring documents from any engineer for specific SED elements and LBP memorandum of works provided. |  |  |  |  |  |
| The work above was completed on |  |  |  |  | Date |  |  |
| I understand that Council will rely on this statement for the purposes of establishing compliance with the above building consent. I confirm that the information within and submitted with this statement is true and accurate. I acknowledge and accept the risk of any remedial work that may be required should work continue before being informed this inspection has passed. |  |  |  |  |  |  |  |
| Signature/ name |  |  |  |  | Date |  |  |
| Company’s contact details |  |  |  |  |  |  |  |
| Company name |  |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |  |
| Email |  |  |  |  |  |  |  |
| Mobile |  |  |  |  |  |  |  |